# Preregistration — Orthopedic 510(k) Predicate-Graph Study (154-code confirmatory extension)

Registration template: OSF Preregistration for Existing Data (chosen because the raw data are

already collected and frozen; see §2).

Study type: Retrospective, observational, secondary analysis of public U.S. FDA regulatory data.

This is not a clinical trial (no intervention, no randomization, no human participants) and **not a

systematic review** — so ClinicalTrials.gov and PROSPERO do not apply. See §1.

Snapshot date (data frozen): 2026-07-21. openFDA data release: 2026-07-06.

Status at registration: analysis plan locked before the confirmatory quantities (§6) are

computed. See the prior-knowledge declaration in §3 — this is the anti-HARKing / anti-p-hacking core

of this document.

Authors: _[to be completed]_  ·  Contact: _[to be completed]_  ·  Version: 1.0 (draft for review)

# 1. Purpose and why this registry

The goal of preregistration here is narrow and explicit: to fix every analytical decision in advance

so that the results of the 154-code analysis cannot be shaped — consciously or not — by seeing the

numbers first. Concretely, it protects against:

p-hacking — trying multiple thresholds, subsets, or tests and reporting whichever gives the

cleanest result. Prevented by pre-specifying the exact edge rule, confidence tiers, recall

linkage, statistical tests, and the full (closed) list of sensitivity analyses in §5–§8.

HARKing (Hypothesizing After Results are Known) — presenting a finding discovered in the data as

though it had been predicted. Prevented by stating the hypotheses (§4) before the confirmatory

numbers exist, and by openly disclosing what we already know (§3).

Because this is observational secondary-data research, the appropriate home is an **OSF

Preregistration**, not a trial registry (no intervention) and not PROSPERO (not a systematic review of

health outcomes). OSF's Existing Data template is used specifically because the raw snapshot is

already in hand; that template requires the honesty declaration in §3.

# 2. Data source (already collected and frozen)

All raw data are drawn from openFDA device endpoints and were frozen to disk on 2026-07-21. No

number in the confirmatory analysis will be derived from the live API; every number derives from the

frozen files. The frozen snapshot comprises:

| File | Endpoint | Records |
| --- | --- | --- |
| 510k_raw.json.gz | /device/510k | 15,556 unique devices (13,288 with a public Summary) |
| recall_raw.json.gz | /device/recall | 6,285 recall records |
| enforcement_raw.json.gz | /device/enforcement | 4,089 records carrying a severity classification |
| SNAPSHOT.json | manifest | date, counts, inclusion rule, full product-code list |

Summary PDFs (the only place predicate relationships are written) are downloaded separately from

accessdata.fda.gov; they are static documents and are treated as part of the frozen snapshot by

retrieval date.

# 3. Prior-knowledge declaration (required; the honesty core)

This section states exactly what is already known, so that no later claim can be mistaken for a naive

prediction.

3.1 A pilot study has been run. An exploratory analysis on 9 orthopedic product codes (5,426

devices) was completed before this registration. It found, descriptively: ~10% of devices linked to a

recall; recalled devices are cited as predicates by later non-recalled devices; some are first cited

only after their own recall; persistence gaps of up to ~23 years; and higher adverse-event counts

for recalled predicates than matched non-recalled predicates. **These pilot results are known to the

authors and motivate the hypotheses in §4. This work is therefore a pre-registered confirmatory

extension of an exploratory pilot**, not a naive first look.

3.2 The 154-code corpus is a superset of the pilot. The inclusion rule (§4.1) captures all 9 pilot

codes plus 145 more. The pilot devices are thus a subset (~35%) of the 15,556. This is an extension,

not an independent replication; §9 specifies an optional held-out analysis on the 145 non-pilot codes

for cleaner independence.

3.3 What is already computed on the 154-code corpus (descriptive, treated as known):

corpus size: 15,556 unique devices, 13,288 with a Summary;

recall linkage: 1,687 recalled devices (worst-class: 1,305 Class II, 18 Class III, 11 Class I,

353 unclassified/pre-enforcement).

These are reported as descriptive facts, not as confirmatory tests.

3.4 What is NOT yet computed (the confirmatory quantities this registration locks): the predicate

edge set and its validated precision; all graph-structure metrics; the persistent-recalled-predicate

counts (predicates / citations / downstream devices); first-cited-after-recall count; persistence-gap

distribution; the MAUDE recalled-vs-matched comparison; and every sensitivity subset. **None of these

154-code values existed at the time this plan was registered.**

# 4. Hypotheses (pre-specified)

Each hypothesis restates a pilot observation as a directional prediction to be tested on the frozen

154-code data. Confirmation/disconfirmation criteria are in §7.

H1 (persistence exists). A non-trivial number of recalled devices are cited as predicates by

later devices cleared after the recall date, where the citing device is itself not recalled

("persistent recalled predicates").

H2 (post-recall entry). A subset of recalled devices are first cited as a predicate only after

their own recall date.

H3 (long persistence). The maximum interval between a device's recall and its latest post-recall

predicate citation exceeds 10 years.

H4 (adverse-event association). Recalled predicates have a higher adverse-event burden (MAUDE

events per year on market) than a matched random sample of non-recalled cited predicates. *This is

explicitly an associational hypothesis — see §8 and §10; no causal claim is made.*

H5 (robustness). The direction of H1–H4 persists under the pre-specified sensitivity subsets

(§5), i.e. the findings are not an artifact of low-confidence edges or low-severity recalls.

# 5. Operational definitions (locked)

Corpus / inclusion rule (D2): every product code in the FDA device classification database with

medical_specialty = Orthopedic AND device_class = 2 AND implant_flag = Y AND *regulation number

beginning 888.3*. This yields the 154 codes listed in SNAPSHOT.json. The rule is applied

mechanically; no code is added or removed by hand.

Predicate cue: a case-insensitive match of predicate, substantially equivalent, or

reference device in the summary text.

Predicate edge (deterministic rule): in any summary containing a predicate cue, every other

in-corpus K-number present in the text is recorded as an incoming predicate edge for that device.

Direction: predicate → citing device.

Confidence tier: SECTION_HEADED if a cue occurs within 300 characters of the K-number's first

mention; otherwise PROXIMITY_ONLY.

Recalled node: a corpus device whose K-number appears in the structured k_numbers field of a

recall record. Linkage is by identity only — no fuzzy name matching.

Recall severity class: taken from the enforcement record joined on

recall.product_res_number = enforcement.recall_number; recalls predating the enforcement dataset

are labeled n/a and retained, not dropped.

Persistent recalled predicate: a recalled device A such that some device B is cleared in a year

later than A's recall year, B is a direct successor of A in the graph, and B is not itself recalled.

Downstream device: any B meeting the persistent-predicate condition (counted once).

# 6. Analysis plan (primary outcomes)

Computed once, on the frozen data, by 06_graph_and_analysis.ipynb, and written to

expected_values.json:

Directed predicate graph over all 15,556 nodes; confirm acyclicity; report node/edge counts,

connected-node count, largest weakly-connected component, and maximum chain depth.

Primary outcome: count of persistent recalled predicates; number of post-recall citations;

number of distinct downstream non-recalled devices.

Count of devices first cited as a predicate only after their own recall (H2).

Distribution and maximum of the recall-to-latest-citation gap in years (H3).

Edge-set precision (§8) from a fresh 60-device hand-adjudicated sample.

Coverage diagnostic: % of summaries with a cue, % edge-resolvable, % name-only, % out-of-scope.

# 7. Confirmation / disconfirmation criteria (pre-specified)

H1 confirmed if persistent recalled predicates > 0 and post-recall citations ≥ 50 (a threshold

set now, not after seeing the count).

H2 confirmed if first-cited-after-recall count > 0.

H3 confirmed if the maximum recall-to-latest gap > 10 years.

H4 confirmed if the recalled group's median MAUDE events-per-year exceeds the matched group's

and the pre-specified test (§8) is significant at α = 0.05, one-sided.

H5 confirmed if H1's direction (persistent predicates > 0, citations ≥ 50) holds in all three

sensitivity subsets (§5.sensitivity below).

Any hypothesis not meeting its criterion is reported as not confirmed — including if that is the

case. Non-confirmation will be reported with equal prominence.

# 8. Statistical tests (locked, with multiplicity handling)

Edge precision: proportion of hand-adjudicated candidate edges that are genuine predicate/

reference citations, with a Wilson 95% confidence interval. Sample: 60 devices drawn with a

fixed seed (42) from devices with downloaded text. Reported as a precision estimate (adjudication

of rule-emitted candidates), explicitly not an independent-gold recall estimate.

MAUDE comparison (H4): recalled cited predicates vs. an equal-size random sample (seed 42) of

non-recalled cited predicates. Primary test: one-sided Mann-Whitney U on events-per-year-on-

market (time-normalized to remove the age confound). Secondary: two-proportion z-test on the

match-rate (share with ≥1 event). α = 0.05.

Multiplicity: five hypotheses; H4 is the only inferential test with a p-value, so no correction

is required for the primary. Where the two MAUDE tests are both reported, both are pre-specified and

will be reported regardless of outcome.

Sensitivity analyses (closed list — no others will be added post hoc):

Class I/II recalls only (drop Class III and unclassified).

High-confidence edges only (SECTION_HEADED).

Combined (Class I/II recalls AND high-confidence edges).

# 9. Independence option (extension vs. replication)

Because the 154-code corpus contains the 9-code pilot, the primary analysis is an extension. To offer a

cleaner test, results may additionally be reported on the 145 non-pilot codes only (the devices

not seen in the pilot). This split is pre-specified here so it cannot later be presented as a post-hoc

discovery. It is optional and, if run, will be reported alongside the full-corpus result, not instead

of it.

# 10. Limitations declared in advance

Name-only gap (D4): ~16% of summaries name a predicate in words but give no K-number. These

edges cannot be resolved and are not guessed at; the graph is therefore a lower bound on the

true citation network. This is a known, accepted limitation, reported as such.

MAUDE is passive/voluntary reporting with incomplete device linkage; event counts are a floor,

and the H4 association may be confounded by device complexity or market volume. No event is

attributed to the predicate relationship.

No causal claim. The study describes citation structure and its association with recalls and

adverse events. It does not claim any device is unsafe, nor that predicate lineage causes harm.

Descriptive scope. No manufacturer is named; no device is ranked; no "harm score" is computed.

# 11. Deviation policy

Any departure from this plan (a definition that has to change, a test that cannot run as written, a

data issue) will be recorded in a DEVIATIONS.md log with the reason and the date, and disclosed in

the manuscript. The frozen expected_values.json (Stage 6 output) and the two-tier verification

(Stage 8) are the immutable record against which the final manuscript numbers are checked.

# 12. Registration mechanics (sequence)

Register this plan on OSF (Existing-Data preregistration) with the frozen SNAPSHOT.json

attached, before running Stages 3, 6, 7, 8. This timestamps the analysis plan ahead of the

confirmatory numbers.

Run Stages 3 → 6 → 7 → 8; Stage 6 writes expected_values.json.

Push code (9 notebooks, verify script, RUN_MANUAL) to a public GitHub repo; the independent

verifier re-runs and signs off via pull request.

Deposit the full bundle (frozen snapshot + code + results + manuscript) on OSF and mint a DOI; the

manuscript cites the preregistration and reports any §11 deviations.

*This document is a draft for the authors' review. Placeholders ([to be completed]) must be filled

before public registration. Nothing here should be publicly registered until the author team has

confirmed the hypotheses and criteria reflect their intent.*